Pre-analytical tissue requirements for PDL1 testing

Tissue fixed in 10% neutral buffered formalin (NBF)

Fixation time: 12 to 72 hours

Not validated with other type of fixative

Not validated with tissue treated with microwaves

Not validated with tissue treated for decalcification